## bus_lodf_aggregator_without_DC
Bus_ID | Bus_Name | Cumulative_OTDF | Average_OTDF | Median_OTDF | Maximum_OTDF | Minimum_OTDF | Count | Worst_Circuit
0 | Knockraha | 11093.6567 | 0.31586 | -0.34848 | 28.9328 | -10.2782 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1 | Celtic | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
3 | DromanaHV | 9422.171 | 0.26827 | -0.44444 | 49.7502 | -59.0518 | 35122 | ''Cullenagh' to 'Dromana'' (orig_from=1682, orig_to=3)
5 | CurraghtownHV | 41466.0591 | 1.1806 | -0.28842 | 105.7045 | -12.6698 | 35122 | 'Curraghtown to Oriel' (orig_from=5, orig_to=148)
6 | HarlockstownsolarextHV | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
8 | Garballagh2SolarHV | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
10 | GormanSolarHV | 12610.355 | 0.35904 | -0.32427 | 50.2917 | -13.9616 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
13 | Balruntagh | 13035.9403 | 0.37116 | -0.31862 | 47.3855 | -16.8917 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
15 | ballymoneen | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
17 | Ballyroe | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
19 | Monvallet | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
21 | Monatoreen | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
23 | Derrylahan | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
25 | Timoney | 114142.5823 | 3.2499 | -0.16546 | 179.1421 | -10.5291 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
27 | CloninNorth | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
29 | Lysaghtstown | 121124.9303 | 3.4487 | -0.31451 | 144.1386 | -31.0163 | 35122 | 'Knockraha to Lysaghtstown' (orig_from=1594, orig_to=29)
31 | Dennistown | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
47 | MullyGraffy | 133598.1571 | 3.8038 | 0.2617 | 166.5785 | -30.9261 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
120 | Knocknamona | 4236.9662 | 0.12064 | -0.41586 | 66.2439 | -52.7562 | 35122 | ''Dungarvan' to 'Woodhouse'' (orig_from=1669, orig_to=1423)
146 | Orieloffsho | 30786.8572 | 0.87657 | -0.2851 | 98.9052 | -15.2577 | 35122 | ''Louth' to 'Oriel'' (orig_from=1564, orig_to=148)
147 | Oriellandin | 30786.8643 | 0.87657 | -0.2851 | 98.9052 | -15.2577 | 35122 | ''Louth' to 'Oriel'' (orig_from=1564, orig_to=148)
148 | Oriel | 30786.9128 | 0.87657 | -0.2851 | 98.9054 | -15.2577 | 35122 | ''Louth' to 'Oriel'' (orig_from=1564, orig_to=148)
149 | CUREENY | 16228.4859 | 0.46206 | -0.015532 | 18.3374 | -16.802 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
151 | SliabhBawn | 26592.9653 | 0.75716 | 0.31802 | 60.5226 | -69.7368 | 35122 | ''Flagford' to 'Sliabh Bawn'' (orig_from=1645, orig_to=151)
152 | BUNKIMALT | 16228.497 | 0.46206 | -0.015532 | 18.3374 | -16.802 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
165 | Wexf_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
176 | Portan | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
177 | EASTWEST | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
178 | Woodland | 4222.6988 | 0.12023 | -0.30678 | 21.5378 | -12.7055 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
228 | ThurlesStat | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
230 | Thur_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
251 | Tral_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
289 | Trie_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
301 | Trien | 15726.7633 | 0.44778 | -0.25306 | 85.1967 | -21.0602 | 35122 | ''Knockanure' to 'Trien' 2' (orig_from=1600, orig_to=1442)
315 | TulbrkT | 9250.4422 | 0.26338 | -0.24359 | 46.9836 | -120.1963 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
324 | TURLG1 | -47856.4721 | -1.3626 | -0.5678 | 32.3024 | -20.5669 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
326 | Carrickaduff | 109234.5451 | 3.1101 | 0.25638 | 166.5373 | -131.8499 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
327 | Carrickalang | 120700.3884 | 3.4366 | 0.25638 | 166.5372 | -30.9184 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
339 | Tarbert | -95041.6505 | -2.706 | -0.27377 | 13.9717 | -232.5754 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
340 | CentralPark | -121139.8995 | -3.4491 | -1.213 | 28.8176 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
344 | StratfT | -64207.7562 | -1.8281 | -0.43147 | 41.0951 | -112.2748 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
358 | SomrstT | 10402.8478 | 0.29619 | 0.30304 | 46.0142 | -86.7637 | 35122 | ''Cashla' to 'Shantallow'' (orig_from=1718, orig_to=1454)
381 | Slig_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
390 | SKL_CAP | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
418 | Raff_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
465 | PbegReactor | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
466 | PbegReactor | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
485 | OutaghT | 18304.2609 | 0.52116 | -0.23753 | 58.5811 | -7.995 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
508 | mob_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
547 | Moycap2 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
548 | Moy_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
555 | MUL_CAP | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
562 | Marina | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
563 | Marina | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
624 | Crory | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
631 | Lisheen | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
647 | mob_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
648 | Lky_SVC | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
649 | Lky_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
661 | Lisd_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
663 | Lisdrumdoagh | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
671 | Lou_Cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
672 | Louth | 24347.8707 | 0.69324 | -0.27184 | 56.6787 | -17.8603 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
673 | Louth | 24347.8707 | 0.69324 | -0.27184 | 56.6787 | -17.8603 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
674 | LouthB | 16132.2912 | 0.45932 | -0.28139 | 44.8305 | -46.394 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
687 | Kilpaddoge | 15498.1773 | 0.44127 | -0.15511 | 19.6011 | -11.8346 | 35122 | Transformer: SH_2102'
695 | Ballynahulla | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
707 | Killonan2 | 17046.9389 | 0.48536 | -0.14108 | 18.1842 | -16.2251 | 35122 | ''Cahir' to 'Doon'' (orig_from=1709, orig_to=1667)
710 | KKY_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
728 | Kilteel_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
739 | Kilnap | 24459.1402 | 0.69641 | -0.33977 | 114.2405 | -24.1522 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
743 | Knockanure | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
744 | KnockanureB | 9768.1593 | 0.27812 | -0.25983 | 14.4513 | -7.9957 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
752 | IkerinT | 108912.0447 | 3.101 | -0.18119 | 179.1422 | -10.2337 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
756 | INCHICORE | -163700.2999 | -4.6609 | -1.2169 | 51.9055 | -47.9835 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
774 | Glenlara | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
776 | Clogher | 120328.1032 | 3.426 | 0.25882 | 166.6262 | -30.935 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
777 | Clogher | 108633.0833 | 3.093 | 0.25616 | 166.5403 | -131.8515 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
784 | GormanESS | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
787 | Gwe_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
792 | GolaghT | 133572.3403 | 3.8031 | 0.26165 | 166.5447 | -30.9198 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
821 | Griffinrath | -67803.8318 | -1.9305 | -0.55849 | 29.8015 | -38.8414 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
824 | GrfratT | -67803.8438 | -1.9305 | -0.55849 | 29.8015 | -38.8414 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
855 | Fin_spare | -20675.7406 | -0.58868 | -0.40021 | 29.3559 | -93.1777 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
860 | Fassaroe_T | 4306.5836 | 0.12262 | -0.71694 | 43.8764 | -35.3583 | 35122 | ''Carrickmines' to 'Pottery Road'' (orig_from=1707, orig_to=1492)
873 | Slievecallan | 11057.8908 | 0.31484 | 0.048601 | 46.985 | -39.0055 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
878 | Dunfir_T | 37513.2569 | 1.0681 | -0.2966 | 126.3672 | -75.0586 | 35122 | ''Maynooth B' to 'Rinawade'' (orig_from=1539, orig_to=1481)
885 | Dalt_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
896 | Derryiron | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
907 | DallowT | 134619.7828 | 3.8329 | -5.2282e-09 | 203.5423 | -18.1591 | 35122 | ''Shannonbridg' to 'Dallow T'' (orig_from=1476, orig_to=907)
925 | Dunm_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
967 | Doon_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
987 | Dru_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1001 | Buffy | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1003 | Corduff | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1086 | CookstownA | -122157.0427 | -3.4781 | -1.2164 | 28.8176 | -102.5995 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1090 | Castlefarm | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1094 | CKM_SR | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1095 | Ckmn_PST | -97665.8462 | -2.7808 | -1.0467 | 85.2756 | -58.9515 | 35122 | ''Poolbeg Sout' to 'Ckmn_PST'' (orig_from=1496, orig_to=1095)
1097 | CKM_Country | -10797.3938 | -0.30743 | -0.71839 | 41.9715 | -35.0849 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1102 | Cahr_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1113 | Cath_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1117 | CathFall | 19227.145 | 0.54744 | 0.25128 | 29.6237 | -43.9446 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1129 | Cbar_svc | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1130 | Cbar_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1141 | Cash_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1142 | Cashla | 9266.8744 | 0.26385 | -0.23023 | 13.7927 | -11.5379 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1170 | Clonkeen | 11465.1015 | 0.32644 | -0.077779 | 17.223 | -99.8254 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1171 | Clashavoon | 10924.0368 | 0.31103 | -0.24545 | 22.0954 | -38.6307 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1200 | Bracetown | -21736.0923 | -0.61887 | -0.36379 | 48.7781 | -95.4861 | 35122 | ''Clonee' to 'Corduff'' (orig_from=1731, orig_to=1679)
1213 | Brinny | 10945.9067 | 0.31165 | -0.31104 | 25.5843 | -19.2757 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1224 | BarrymT | 36541.2924 | 1.0404 | -0.308 | 87.3949 | -28.6037 | 35122 | ''Knockraha' to 'Barrym T'' (orig_from=1597, orig_to=1224)
1234 | Ban_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1257 | Croaghaun | 90688.4011 | 2.5821 | 0.34338 | 194.4236 | -12.7585 | 35122 | ''Bellacorick' to 'Moy'' (orig_from=1744, orig_to=1521)
1259 | Srahnakilly | 90688.559 | 2.5821 | 0.34338 | 194.424 | -12.7585 | 35122 | ''Bellacorick' to 'Moy'' (orig_from=1744, orig_to=1521)
1261 | Bellacorick | 90688.499 | 2.5821 | 0.34338 | 194.4238 | -12.7585 | 35122 | ''Bellacorick' to 'Moy'' (orig_from=1744, orig_to=1521)
1305 | BlakeT | -19177.9895 | -0.54604 | -0.39272 | 45.1573 | -30.1343 | 35122 | ''Maynooth A' to 'Timahoe'' (orig_from=1541, orig_to=1448)
1358 | Ballyvouskil | 10429.7782 | 0.29696 | -0.11256 | 17.2234 | -105.1545 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1359 | BVKStatcom | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1363 | mob_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1364 | Ath_cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1377 | Athea-2 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1401 | Arigna_T | 18763.5043 | 0.53424 | 0.25886 | 67.9457 | -40.2999 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1409 | Longpoint | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1417 | Ardna_Cap | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1420 | Ardnacrusha | 16231.9852 | 0.46216 | -0.015484 | 18.3378 | -16.8024 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1423 | Woodhouse | 4236.9671 | 0.12064 | -0.41586 | 66.2439 | -52.7562 | 35122 | ''Dungarvan' to 'Woodhouse'' (orig_from=1669, orig_to=1423)
1424 | Whitebank | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1425 | Coomataggart | 11663.2003 | 0.33208 | -0.076906 | 17.2233 | -7.9947 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1426 | WolfeTone | -38302.8289 | -1.0906 | -0.54543 | 66.1386 | -83.1696 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1427 | Wexford | -28294.4914 | -0.80561 | -0.48103 | 43.8376 | -55.236 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1428 | Whitegate | 20274.2737 | 0.57725 | -0.34627 | 64.8035 | -19.6196 | 35122 | ''Cow Cross' to Rathcoursey' (orig_from=1691, orig_to=1857)
1429 | Woodland | 4222.7098 | 0.12023 | -0.30678 | 21.5379 | -12.7055 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1430 | Woodland | 30812.0726 | 0.87729 | -0.29693 | 33.5884 | -17.1782 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1431 | Waterford | -3763.6091 | -0.10716 | -0.42237 | 46.6373 | -26.0777 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1432 | Tipperary | 90420.4976 | 2.5745 | -0.24823 | 132.3855 | -53.9841 | 35122 | ''Cahir' to 'Tipperary'' (orig_from=1709, orig_to=1432)
1433 | Trillick | 133572.7313 | 3.8031 | 0.26165 | 166.5452 | -30.9199 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1434 | Tonroe | 22630.1705 | 0.64433 | 0.2596 | 95.2109 | -26.7444 | 35122 | ''Flagford' to 'Tonroe'' (orig_from=1645, orig_to=1434)
1435 | YellowMeadow | -121140.2748 | -3.4491 | -1.213 | 28.8177 | -39.2251 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1436 | Thornsberry | 148471.7318 | 4.2273 | -0.29491 | 228.2462 | -202.0311 | 35122 | ''Derryiron' to 'Thornsberry'' (orig_from=1657, orig_to=1436)
1437 | Thurles | 116443.6513 | 3.3154 | -0.2576 | 179.1452 | -7.9949 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
1438 | Tullabeg | -42587.4802 | -1.2126 | -0.59749 | 100.2366 | -51.366 | 35122 | ''Crane' to 'Tullabeg'' (orig_from=1697, orig_to=1438)
1439 | Tralee | 18389.7541 | 0.5236 | -0.2444 | 66.4636 | -7.9952 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
1440 | CAUTEEN | 166704.8851 | 4.7465 | -0.23606 | 161.5719 | -10.9873 | 35122 | 'Killonan to Ballyvalode' (orig_from=707, orig_to=1860)
1441 | Cauteen | 165554.9832 | 4.7137 | -0.23391 | 161.5722 | -11.8225 | 35122 | 'Killonan to Ballyvalode' (orig_from=707, orig_to=1860)
1442 | Trien | 15978.0757 | 0.45493 | -0.25153 | 85.197 | -25.1229 | 35122 | ''Knockanure' to 'Trien' 2' (orig_from=1600, orig_to=1442)
1443 | TAWN_B | 32502.1597 | 0.92541 | 0.27693 | 65.4479 | -25.4361 | 35122 | ''Cunghill' to 'Sligo'' (orig_from=1690, orig_to=1471)
1444 | Tawnaghmore | 39247.5894 | 1.1175 | 0.29672 | 121.9675 | -116.2423 | 35122 | ''Moy' to 'Tawnaghmore'' (orig_from=1521, orig_to=1444)
1445 | Trinity | -417908.2996 | -11.8988 | -1.1378 | 28.017 | -87.5358 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1446 | ShellybanksB | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1447 | Tullabrack | 9250.433 | 0.26338 | -0.24359 | 46.9835 | -120.1962 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
1448 | Timahoe | 36696.3808 | 1.0448 | -0.39925 | 100.45 | -27.6059 | 35122 | ''Coolcarrigan' to 'Blake T'' (orig_from=1819, orig_to=1305)
1449 | TurloughHil | -47856.6905 | -1.3626 | -0.5678 | 32.3025 | -20.567 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
1450 | Croaghnagawn | 109234.6181 | 3.1101 | 0.25638 | 166.5374 | -131.85 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1451 | Tievebrack | 133598.279 | 3.8038 | 0.2617 | 166.5787 | -30.9261 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1452 | Trabeg | 5980.8424 | 0.17029 | -0.35579 | 26.8698 | -46.2483 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1453 | Tynagh | 13730.1843 | 0.39093 | -0.2899 | 110.3193 | -7.9978 | 35122 | ''Oldstreet' to 'Tynagh'' (orig_from=1504, orig_to=1453)
1454 | Shantallow | 29900.2967 | 0.85133 | 0.23909 | 117.2005 | -23.1967 | 35122 | ''Cashla' to 'Shantallow'' (orig_from=1718, orig_to=1454)
1455 | Tarbert | 9381.7708 | 0.26712 | -0.25992 | 14.8676 | -7.9961 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1456 | Tarbert | -92314.0641 | -2.6284 | -0.27256 | 13.9717 | -232.5753 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1457 | Tarbert | -86447.3501 | -2.4613 | -0.27091 | 13.9717 | -232.5727 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1458 | Taney | -121140.0798 | -3.4491 | -1.213 | 28.8177 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1459 | Shellybanks | -48586.7786 | -1.3834 | -0.71338 | 117.4373 | -36.5666 | 35122 | ''Carrickmines' to 'Irishtown'' (orig_from=1706, orig_to=1601)
1460 | Snughborough | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1461 | Singland | 16228.8304 | 0.46207 | -0.015533 | 18.3378 | -16.8024 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1462 | SealRock | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1463 | Stratford | -64207.712 | -1.8281 | -0.43147 | 41.0951 | -112.2748 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1464 | SealRock | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1465 | Srananagh | 42783.1796 | 1.2181 | 0.25899 | 136.1257 | -20.2561 | 35122 | ''Flagford' to 'Srananagh'' (orig_from=1644, orig_to=1465)
1466 | Srananagh | 18923.767 | 0.5388 | 0.25129 | 29.6251 | -43.9467 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1467 | Stephenstown | -34208.5115 | -0.97399 | -0.42903 | 27.2231 | -110.7846 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1468 | Shellybanks | -21843.6201 | -0.62194 | -0.40228 | 29.2379 | -92.6242 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1469 | Somerset | 10402.8406 | 0.29619 | 0.30304 | 46.0141 | -86.7636 | 35122 | ''Cashla' to 'Shantallow'' (orig_from=1718, orig_to=1454)
1470 | SorneHill | 133572.5283 | 3.8031 | 0.26165 | 166.5449 | -30.9199 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1471 | Sligo | 19150.5571 | 0.54526 | 0.25303 | 33.0563 | -39.2213 | 35122 | ''Flagford' to 'Sligo'' (orig_from=1645, orig_to=1471)
1472 | Shankill | 16280.3178 | 0.46354 | -0.24201 | 40.213 | -34.0561 | 35122 | ''LouthA' to 'Ratrussan'' (orig_from=1565, orig_to=1479)
1473 | Salthill | 8199.9621 | 0.23347 | 0.20359 | 12.3263 | -19.6886 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1474 | Shannonbridg | 180614.0817 | 5.1425 | -0.29588 | 179.9862 | -11.9575 | 35122 | ''Shannonbridge' to 'Castlelost'' (orig_from=1474, orig_to=1816)
1475 | Shannonbridg | 17342.1863 | 0.49377 | -5.4951e-09 | 48.4408 | -8.993 | 35122 | Transformer: SH_2102'
1476 | Shannonbridg | 18718.608 | 0.53296 | 0.15377 | 24.7105 | -20.8548 | 35122 | ''Cashla' to 'Shantallow'' (orig_from=1718, orig_to=1454)
1477 | SheltonAbbe | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1478 | Rathnaskillo | -1517.0527 | -0.043194 | -0.40822 | 43.2507 | -40.4189 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1479 | Ratrussan | 17886.3618 | 0.50926 | -0.25184 | 54.5899 | -27.7726 | 35122 | ''LouthA' to 'Ratrussan'' (orig_from=1565, orig_to=1479)
1480 | Ringaskiddy | 8112.8188 | 0.23099 | -0.35805 | 27.0846 | -30.9856 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1481 | Rinawade | 52995.3401 | 1.5089 | -0.35522 | 170.5275 | -27.918 | 35122 | ''Maynooth B' to 'Rinawade'' (orig_from=1539, orig_to=1481)
1482 | RaffeenB | 8112.8248 | 0.23099 | -0.35805 | 27.0847 | -30.9856 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1483 | Raffeen | 10194.2322 | 0.29025 | -0.34609 | 28.4396 | -16.3904 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1484 | Raffeen | 6935.2981 | 0.19746 | -0.36231 | 27.6354 | -27.3663 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1485 | Richmond | 39559.1177 | 1.1263 | 0.34072 | 45.8761 | -27.768 | 35122 | ''Lanesboro' to 'Sliabh Bawn'' (orig_from=1566, orig_to=151)
1486 | Richmond | 29844.3669 | 0.84973 | 0.32226 | 45.2176 | -101.8914 | 35122 | ''Lanesboro' to 'Sliabh Bawn'' (orig_from=1566, orig_to=151)
1487 | Oldbridge | -3078.8142 | -0.087661 | -0.35303 | 37.109 | -31.6732 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1488 | Rathkeale | 13191.0153 | 0.37558 | -0.12055 | 13.6355 | -13.5299 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1489 | Ringsend | -417908.905 | -11.8988 | -1.1378 | 28.017 | -87.5359 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1490 | Ryebrook | -25275.5011 | -0.71965 | -0.44592 | 29.1214 | -55.5162 | 35122 | ''Castlebagot' to 'Maynooth A'' (orig_from=1568, orig_to=1538)
1491 | Prospect | 9344.6356 | 0.26606 | -0.25985 | 14.8498 | -7.9962 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1492 | PotteryRoad | -272302.5843 | -7.753 | -0.91466 | 56.4217 | -112.2056 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1493 | Platin | 15048.9317 | 0.42848 | -0.33817 | 76.9088 | -27.2933 | 35122 | ''Platin' to 'Oldbridge'' (orig_from=1493, orig_to=1487)
1494 | Pelletstown | -25132.9674 | -0.71559 | -0.5294 | 62.5906 | -66.4937 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1495 | Portlaoise | 14983.0446 | 0.4266 | -0.35203 | 81.3973 | -25.39 | 35122 | ''Coolnabacky' to 'Portlaoise'' (orig_from=1561, orig_to=1495)
1496 | PoolbegSout | -128584.0028 | -3.6611 | -1.0891 | 64.6272 | -69.9096 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1497 | Poolbeg | -407919.354 | -11.6144 | -1.1349 | 29.2811 | -85.0916 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1498 | PoolbegNort | -20832.2288 | -0.59314 | -0.40367 | 23.9177 | -95.0312 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1499 | Poolbeg | -407919.354 | -11.6144 | -1.1349 | 29.2811 | -85.0916 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1500 | Pollahoney | -52449.0362 | -1.4933 | -0.743 | 32.1362 | -40.1284 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1501 | Pollaphuca | -64207.2617 | -1.8281 | -0.43147 | 41.0948 | -112.274 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1502 | Poppintree | -21479.6059 | -0.61157 | -0.40413 | 27.3255 | -91.1173 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1503 | Oldstreet | 5447.9415 | 0.15511 | -0.30491 | 19.8455 | -10.3301 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1504 | Oldstreet | -27182.6187 | -0.77395 | -0.3085 | 17.5391 | -129.8104 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1505 | Glenree | 33632.4901 | 0.95759 | 0.27675 | 80.8914 | -29.5776 | 35122 | ''Cunghill' to 'Sligo'' (orig_from=1690, orig_to=1471)
1506 | Oughtragh | 18304.1915 | 0.52116 | -0.23753 | 58.5809 | -7.9949 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
1507 | Oldcourt | 6214.3084 | 0.17693 | -0.36297 | 27.792 | -24.1788 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1508 | Oldcourt | 6214.3086 | 0.17693 | -0.36297 | 27.792 | -24.1788 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1509 | Nangor | -121140.1463 | -3.4491 | -1.213 | 28.8177 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1510 | Nenagh | 16228.4532 | 0.46206 | -0.015532 | 18.3374 | -16.802 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1511 | NorthWall | -20832.233 | -0.59314 | -0.40367 | 23.9177 | -95.0312 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1512 | Navan | 12668.2148 | 0.36069 | -0.32388 | 49.8547 | -13.3981 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1513 | NorthQuays | -535363.3258 | -15.243 | -1.2962 | 66.4414 | -194.7111 | 35122 | ''North Quays' to 'Ringsend'' (orig_from=1513, orig_to=1489)
1514 | Newbridge | -6877.1428 | -0.19581 | -0.42051 | 37.7787 | -22.0547 | 35122 | ''Maynooth A' to 'Timahoe'' (orig_from=1541, orig_to=1448)
1515 | Bancroft | -10797.3867 | -0.30743 | -0.71839 | 41.9715 | -35.0849 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1516 | Newbury | -21506.7687 | -0.61234 | -0.40413 | 27.4684 | -91.117 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1517 | Mulreavy | 19226.788 | 0.54743 | 0.25128 | 29.6232 | -43.9438 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1518 | Monread | -108585.0139 | -3.0917 | -0.55217 | 29.0511 | -130.2585 | 35122 | ''Maynooth A' to 'Timahoe'' (orig_from=1541, orig_to=1448)
1519 | Meentycat | 133573.6565 | 3.8031 | 0.26165 | 166.5461 | -30.9201 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1520 | Mullagharlin | 18999.9179 | 0.54097 | -0.2715 | 45.8829 | -23.388 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1521 | Moy | 32502.2527 | 0.92541 | 0.27693 | 65.448 | -25.4362 | 35122 | ''Cunghill' to 'Sligo'' (orig_from=1690, orig_to=1471)
1522 | Mallow | 21777.4697 | 0.62005 | -0.24999 | 81.4683 | -17.5094 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
1523 | Mullingar | 78712.3039 | 2.2411 | -0.22572 | 94.8234 | -23.9777 | 35122 | 'Clonymeath to Craddanstown' (orig_from=1821, orig_to=1814)
1524 | MungretB | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1525 | MungretA | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1526 | Marina | 5885.6874 | 0.16758 | -0.35576 | 26.8423 | -47.2517 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1527 | MNYPG2 | 9299.9256 | 0.26479 | -0.26105 | 14.9718 | -7.9961 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1528 | MNYPG3 | -12531.8468 | -0.35681 | -0.30796 | 16.0849 | -13.2939 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1529 | Moneypoint | 9299.9498 | 0.26479 | -0.26105 | 14.9718 | -7.9961 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1530 | Moneypoint | 2975.7315 | 0.084726 | -0.24942 | 14.0417 | -130.1681 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1531 | MnypB | 8987.371 | 0.25589 | -0.26006 | 14.8425 | -106.1618 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1532 | MNYPG1 | 8033.5934 | 0.22873 | -0.2842 | 16.5778 | -7.9965 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1533 | Moneteen | 15155.5941 | 0.43151 | -4.5383e-09 | 20.6552 | -18.7955 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1534 | Carrigdangan | 10480.0914 | 0.29839 | -0.24648 | 22.4799 | -52.8405 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1535 | Macroom | 10480.4164 | 0.2984 | -0.24649 | 22.4806 | -52.8422 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1536 | Milltown | -121140.2831 | -3.4491 | -1.213 | 28.8177 | -39.2251 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1537 | Milltown | -417908.7934 | -11.8988 | -1.1378 | 28.017 | -87.5359 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1538 | MaynoothA | -29624.4037 | -0.84347 | -0.84418 | 57.4733 | -23.4182 | 35122 | ''Castlebagot' to 'Maynooth A'' (orig_from=1568, orig_to=1538)
1539 | MaynoothB | -28425.4226 | -0.80933 | -0.47808 | 35.4225 | -16.7852 | 35122 | ''Castlebagot' to 'Maynooth A'' (orig_from=1568, orig_to=1538)
1540 | MaynoothB | -61345.6755 | -1.7466 | -0.58509 | 41.6853 | -25.856 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
1541 | MaynoothA | -67803.8907 | -1.9305 | -0.55849 | 29.8015 | -38.8415 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
1542 | MeathHill | -7743.1418 | -0.22046 | -0.3253 | 46.8741 | -120.3913 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1543 | Midleton | 73567.3943 | 2.0946 | -0.3171 | 144.1384 | -29.101 | 35122 | 'Knockraha to Lysaghtstown' (orig_from=1594, orig_to=29)
1544 | McDermott | -40412.9036 | -1.1506 | -0.54419 | 66.7071 | -90.6951 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1545 | Macetown | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1546 | MiseryHill | -417908.4322 | -11.8988 | -1.1378 | 28.017 | -87.5358 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1547 | Aungierstown | -86985.7416 | -2.4767 | -1.014 | 17.7803 | -43.1252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1548 | Greenlink | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1549 | Barnakyle | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1550 | Lodgewood | -53980.4815 | -1.5369 | -0.58663 | 61.2677 | -61.8765 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1551 | Lodgewood | -71633.8436 | -2.0396 | -0.61442 | 54.8997 | -120.4701 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1552 | CureenyT | 16228.5583 | 0.46206 | -0.015533 | 18.3375 | -16.8021 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1553 | Lisheen | 122847.7688 | 3.4977 | -0.25544 | 179.1446 | -7.9949 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
1554 | LibertySt | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1555 | LibertySt | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1556 | Lenalea | 133581.5052 | 3.8034 | 0.26167 | 166.5566 | -30.922 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1557 | Letterkenny | 133575.8587 | 3.8032 | 0.26165 | 166.5491 | -30.9206 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1558 | Derrycarney | 379605.9681 | 10.8082 | 0.22266 | 214.5292 | -67.1497 | 35122 | ''Derrycarney' to 'Derrinlough'' (orig_from=1558, orig_to=1800)
1559 | Lisdrum | 15644.5721 | 0.44544 | -0.26279 | 41.005 | -47.617 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1560 | Coolnabacky | -12531.861 | -0.35681 | -0.30796 | 16.0849 | -13.2939 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1561 | Coolnabacky | -43404.7506 | -1.2358 | -0.46229 | 18.6137 | -85.0055 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1562 | Coolnabacky_ | -12531.8447 | -0.35681 | -0.30796 | 16.0849 | -13.2939 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1563 | Limerick | 15757.3587 | 0.44865 | -4.9042e-09 | 22.8053 | -20.6446 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1564 | Louth | 24347.9842 | 0.69324 | -0.27184 | 56.679 | -17.8604 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1565 | LouthA | 20594.4411 | 0.58637 | -0.27817 | 48.582 | -21.7692 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1566 | Lanesboro | 39559.3293 | 1.1263 | 0.34073 | 45.8763 | -27.7681 | 35122 | ''Lanesboro' to 'Sliabh Bawn'' (orig_from=1566, orig_to=151)
1567 | Coolnanoonag | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1568 | Castlebagot | -86986.1607 | -2.4767 | -1.014 | 17.7804 | -43.1254 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1569 | Castlebagot | -86985.7955 | -2.4767 | -1.014 | 17.7804 | -43.1252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1570 | KILP | 8130.3849 | 0.23149 | -0.27244 | 16.4559 | -7.9965 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1571 | Kilpaddoge | 9388.9957 | 0.26733 | -0.26027 | 14.871 | -7.996 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1572 | Kilpaddoge | 10349.3218 | 0.29467 | -0.25108 | 13.9717 | -17.2944 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1573 | Kilmahud | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1574 | Kilmore | -21506.6999 | -0.61234 | -0.40413 | 27.468 | -91.1171 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1575 | Killoteran | -3727.8973 | -0.10614 | -0.4221 | 46.6907 | -26.1067 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1576 | Knockacummer | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1577 | Kinnegad | 62529.4846 | 1.7804 | -0.2531 | 106.7602 | -43.0187 | 35122 | ''Derryiron' to 'Kinnegad'' (orig_from=1657, orig_to=1577)
1578 | Kellystown | 182.4647 | 0.0051952 | -0.46153 | 40.5603 | -14.7283 | 35122 | ''Castlebagot' to 'Maynooth A'' (orig_from=1568, orig_to=1538)
1579 | Kellis | -43018.2429 | -1.2248 | -0.46911 | 54.7634 | -31.4834 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1580 | Kellis | -33831.6466 | -0.96326 | -0.41163 | 42.4905 | -34.6224 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1581 | Ballynahulla | 11136.3547 | 0.31708 | -0.12994 | 14.6827 | -7.995 | 35122 | ''Knockraha' to 'Dromana'' (orig_from=1596, orig_to=3)
1582 | Ballynahulla | 11136.2924 | 0.31707 | -0.12993 | 14.6826 | -7.995 | 35122 | ''Knockraha' to 'Dromana'' (orig_from=1596, orig_to=3)
1583 | Ballynahulla | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1584 | Knockumber | 12668.1882 | 0.36069 | -0.32388 | 49.8546 | -13.3981 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1585 | Knockeragh | 18133.5439 | 0.5163 | -0.10066 | 42.817 | -7.9947 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
1586 | Killonan | 15498.2717 | 0.44127 | -0.15511 | 19.6012 | -11.8347 | 35122 | Transformer: SH_2102'
1587 | Killonan | 16228.8728 | 0.46207 | -0.015533 | 18.3378 | -16.8024 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1588 | Kishoge | -86985.7589 | -2.4767 | -1.014 | 17.7804 | -43.1252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1589 | Kilkenny | -26999.0945 | -0.76872 | -0.31095 | 60.8649 | -43.3553 | 35122 | ''Kellis' to 'White Hill'' (orig_from=1580, orig_to=1825)
1590 | Reamore | 18389.7487 | 0.5236 | -0.2444 | 66.4636 | -7.9952 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
1591 | Kilteel | -107009.9639 | -3.0468 | -0.54866 | 29.0511 | -130.2581 | 35122 | ''Maynooth A' to 'Timahoe'' (orig_from=1541, orig_to=1448)
1592 | Kilcarbery | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1593 | Kilbarry | 7042.5094 | 0.20052 | -0.35522 | 26.6953 | -40.8346 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1594 | Knockraha | 8337.7913 | 0.2374 | -0.37136 | 43.4174 | -35.7176 | 35122 | ''Kilnap' to 'Knockraha'' (orig_from=739, orig_to=1594)
1595 | Knockraha | 9767.5218 | 0.2781 | -0.34969 | 28.5549 | -16.3143 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1596 | Knockraha | 11093.4221 | 0.31585 | -0.34848 | 28.9328 | -10.2782 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1597 | Knockraha | 9151.1407 | 0.26055 | -0.35525 | 27.6692 | -24.6855 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1598 | Knockanure | 9768.3233 | 0.27813 | -0.25984 | 14.4515 | -7.9958 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1599 | Knockanure | 10582.4646 | 0.30131 | -0.25443 | 37.9275 | -30.1019 | 35122 | ''Knockanure' to 'Trien' 2' (orig_from=1600, orig_to=1442)
1600 | Knockanure | 8862.7493 | 0.25234 | -0.25213 | 78.928 | -55.9257 | 35122 | ''Kilpaddoge' to 'Knockanure' 110kV' (orig_from=1572, orig_to=1600)
1601 | Irishtown | -48586.7883 | -1.3834 | -0.71338 | 117.4373 | -36.5666 | 35122 | ''Carrickmines' to 'Irishtown'' (orig_from=1706, orig_to=1601)
1602 | Monatooreen | 9151.1389 | 0.26055 | -0.35525 | 27.6692 | -24.6855 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1603 | Ikerrin | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1604 | Inch_Country | -121140.3897 | -3.4491 | -1.213 | 28.8177 | -39.2251 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1605 | Inchicore | -78586.599 | -2.2375 | -0.75676 | 7.3789 | -42.3594 | 35122 | ''Poolbeg Sout' to 'Ckmn_PST'' (orig_from=1496, orig_to=1095)
1606 | Inch_City | -121140.7373 | -3.4491 | -1.213 | 28.8178 | -39.2252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1607 | Iniscarra | 9186.8175 | 0.26157 | -0.28172 | 24.6457 | -34.1091 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1608 | Huntstown | -20675.8522 | -0.58869 | -0.40021 | 29.3561 | -93.1782 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1609 | HeustonSqua | -121140.6564 | -3.4491 | -1.213 | 28.8178 | -39.2252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1610 | HaroldsCros | -417908.2926 | -11.8988 | -1.1378 | 28.017 | -87.5358 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1611 | Harristown | 66576.8909 | 1.8956 | -0.25755 | 106.7594 | -38.2766 | 35122 | ''Derryiron' to 'Kinnegad'' (orig_from=1657, orig_to=1577)
1612 | Glenlara | 19711.0919 | 0.56122 | -0.13573 | 56.216 | -12.5407 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
1613 | Clogher | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1614 | Clogher | 19226.8053 | 0.54743 | 0.25128 | 29.6232 | -43.9438 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1615 | GrangeCastl | -121140.1587 | -3.4491 | -1.213 | 28.8177 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1616 | Glanagow | 10345.2363 | 0.29455 | -0.34609 | 28.5224 | -15.3639 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1617 | Gorman | 17013.7422 | 0.48442 | -0.28331 | 78.6863 | -13.3823 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1618 | Gorman | 12610.3562 | 0.35904 | -0.32427 | 50.2917 | -13.9616 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1619 | Gortawee | 36923.3013 | 1.0513 | -5.6264e-09 | 150.5152 | -41.2567 | 35122 | ''Arva' to 'Gortawee'' (orig_from=1763, orig_to=1620)
1620 | Golagh | 133572.1599 | 3.8031 | 0.26165 | 166.5445 | -30.9198 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1621 | Gallanstown | 12661.2939 | 0.36049 | -0.27143 | 106.2778 | -31.5774 | 35122 | ''Platin' to 'Gallanstown'' (orig_from=1493, orig_to=1622)
1622 | Galway | 8199.9682 | 0.23347 | 0.20359 | 12.3263 | -19.6887 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1623 | Garrow | 11465.1311 | 0.32644 | -0.077779 | 17.223 | -99.8254 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1624 | Grange | -21506.9561 | -0.61235 | -0.40413 | 27.4693 | -91.1171 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1625 | GreatIsland | 11133.8252 | 0.317 | -0.46531 | 73.2788 | -28.4856 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1626 | GreatIsland | -4146.7443 | -0.11807 | -0.42922 | 46.0639 | -25.7667 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1627 | Glanlee | 11664.4147 | 0.33211 | -0.076905 | 17.2229 | -7.9945 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1628 | Griffinrath | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1629 | Glasmore | -34516.5183 | -0.98276 | -0.42918 | 27.2232 | -110.7852 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1630 | Garballagh | 25840.7226 | 0.73574 | -0.33771 | 105.1629 | -21.0073 | 35122 | ''Garballagh' to 'Platin'' (orig_from=1631, orig_to=1493)
1631 | Gilra | 14406.2444 | 0.41018 | 0.25412 | 21.6169 | -31.7832 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1632 | Garvagh | 20382.8272 | 0.58034 | 0.25667 | 48.597 | -34.0498 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1633 | Glen | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1634 | Firlough | 33333.7342 | 0.94908 | 0.27693 | 76.8098 | -28.4831 | 35122 | ''Cunghill' to 'Sligo'' (orig_from=1690, orig_to=1471)
1635 | Fortunestown | -122156.939 | -3.4781 | -1.2164 | 28.8176 | -102.5993 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1636 | FinglasB5 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1637 | Fin_rural | -21460.1988 | -0.61102 | -0.40413 | 27.2233 | -91.1175 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1638 | Finglas220b | -20832.2479 | -0.59314 | -0.40367 | 23.9177 | -95.0313 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1639 | Finglas | -20675.8563 | -0.58869 | -0.40021 | 29.3561 | -93.1782 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1640 | Fin_urban | 83224.749 | 2.3696 | -0.39727 | 59.7818 | -66.4938 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1641 | FrnStB | -121140.6461 | -3.4491 | -1.213 | 28.8178 | -39.2252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1642 | FrnStA | -417908.2103 | -11.8988 | -1.1378 | 28.017 | -87.5357 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1643 | Flagford | 16313.4689 | 0.46448 | 0.16 | 30.032 | -17.697 | 35122 | ''Flagford' to 'Louth'' (orig_from=1644, orig_to=1564)
1644 | Flagford | 14406.2971 | 0.41018 | 0.25412 | 21.617 | -31.7833 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1645 | FassWest | -10797.3659 | -0.30742 | -0.71839 | 41.9714 | -35.0849 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1646 | FassEast | 4306.5762 | 0.12262 | -0.71694 | 43.8763 | -35.3582 | 35122 | ''Carrickmines' to 'Pottery Road'' (orig_from=1707, orig_to=1492)
1647 | Corkagh_2 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1648 | Corkagh | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1649 | Mountlucas | 90095.1199 | 2.5652 | -0.28832 | 223.5334 | -149.7276 | 35122 | ''Cushaling' to 'Mountlucas'' (orig_from=1689, orig_to=1650)
1650 | KillHill | 87950.132 | 2.5041 | -0.24388 | 179.1509 | -7.9947 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
1651 | Ennis | 11057.9432 | 0.31484 | 0.048601 | 46.9852 | -39.0057 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
1652 | Drumkeen | 133573.8861 | 3.8031 | 0.26165 | 166.5463 | -30.9201 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1653 | Dunfirth | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1654 | Dalton | 12090.9849 | 0.34426 | 0.25055 | 37.6553 | -16.6359 | 35122 | ''Castlebar' to 'Cloon'' (orig_from=1715, orig_to=1699)
1655 | Derrylahan | 18718.5999 | 0.53296 | 0.15377 | 24.7104 | -20.8548 | 35122 | ''Cashla' to 'Shantallow'' (orig_from=1718, orig_to=1454)
1656 | Derryiron | 42656.3202 | 1.2145 | -0.28352 | 75.1086 | -59.7505 | 35122 | 'Timahoe to Coolcor' (orig_from=1448, orig_to=1861)
1657 | Dardistown | -21504.7388 | -0.61229 | -0.40413 | 27.4576 | -91.1171 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1658 | Dallow | 134619.2168 | 3.8329 | -5.2162e-09 | 203.5414 | -18.159 | 35122 | ''Shannonbridg' to 'Dallow T'' (orig_from=1476, orig_to=907)
1659 | Derrybrien | 16068.4221 | 0.4575 | 0.25737 | 102.072 | -23.1803 | 35122 | 'Shannonbridge to Ballydonagh' (orig_from=1476, orig_to=1858)
1660 | Dunmanway | 13675.4909 | 0.38937 | -0.2759 | 32.1614 | -10.1369 | 35122 | ''Clashavoon' to 'Macroom' 2' (orig_from=1723, orig_to=1535)
1661 | Dunmanway | 10480.133 | 0.29839 | -0.24648 | 22.48 | -52.8407 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1662 | Dunstown | -12531.8723 | -0.35681 | -0.30796 | 16.0849 | -13.2939 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1663 | Dunstown | -41111.4074 | -1.1705 | -0.56964 | 27.6106 | -17.9222 | 35122 | ''Castlebagot' to 'Maynooth B'' (orig_from=1568, orig_to=1540)
1664 | Drybridge | -2045.3983 | -0.058237 | -0.35267 | 37.1008 | -35.5176 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1665 | Knockalough | 8199.7937 | 0.23347 | 0.20359 | 12.3261 | -19.6882 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1666 | Doon | 5682.1539 | 0.16178 | -0.33977 | 111.197 | -135.0044 | 35122 | 'Cullenagh to Mothel' (orig_from=1683, orig_to=1835)
1667 | Drombeg | 12916.7149 | 0.36777 | -0.2478 | 76.9177 | -7.9954 | 35122 | ''Drombeg' to 'Kilpaddoge'' (orig_from=1668, orig_to=1572)
1668 | Dungarvan | 557.0397 | 0.01586 | -0.41478 | 62.0977 | -58.0176 | 35122 | ''Dungarvan' to 'Rathnaskillo'' (orig_from=1669, orig_to=1478)
1669 | Dromada | 9768.1131 | 0.27812 | -0.25983 | 14.4512 | -7.9956 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1670 | Drumline | 79776.5753 | 2.2714 | 0.24009 | 188.7243 | -7.9955 | 35122 | ''Ardnacrusha' to 'Drumline'' (orig_from=1780, orig_to=1671)
1671 | Ugool | 12194.5865 | 0.34721 | 0.20718 | 105.7873 | -19.6885 | 35122 | ''Galway' to 'Knockranny A'' (orig_from=1623, orig_to=1675)
1672 | Dundalk | 18080.0497 | 0.51478 | -0.27964 | 44.3258 | -30.7675 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1673 | Knockranny | 8199.806 | 0.23347 | 0.20359 | 12.3261 | -19.6883 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1674 | KnockrannyA | 12194.5914 | 0.34721 | 0.20718 | 105.7873 | -19.6885 | 35122 | ''Galway' to 'Knockranny A'' (orig_from=1623, orig_to=1675)
1675 | Dunkettle | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1676 | CRUISERATH | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1677 | CorduffB | -13551.6817 | -0.38585 | -0.38255 | 33.745 | -87.6378 | 35122 | ''CorduffB' to 'Finglas220b'' (orig_from=1678, orig_to=1639)
1678 | Corduff | -12089.7587 | -0.34422 | -0.37293 | 42.5619 | -84.7105 | 35122 | ''Corduff' to 'Finglas'' (orig_from=1679, orig_to=1640)
1679 | Corduff | -18716.3875 | -0.5329 | -0.28351 | 22.1057 | -37.2155 | 35122 | ''Corduff' to 'Finglas'' (orig_from=1679, orig_to=1640)
1680 | CityWest | -122156.9439 | -3.4781 | -1.2164 | 28.8176 | -102.5992 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1681 | Cullenagh | 7751.36 | 0.2207 | -0.46005 | 60.2828 | -36.951 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1682 | Cullenagh | -3230.434 | -0.091978 | -0.40964 | 47.4355 | -30.1385 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1683 | Castledockre | -71633.7805 | -2.0396 | -0.61442 | 54.8996 | -120.47 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1684 | Corraclassy | 63782.8021 | 1.816 | 0.051931 | 166.0657 | -41.2565 | 35122 | ''Corraclassy' to 'Gortawee'' (orig_from=1685, orig_to=1620)
1685 | Coomagearlahey | 11664.4171 | 0.33211 | -0.076905 | 17.2229 | -7.9945 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1686 | Castleview | 8203.2977 | 0.23357 | -0.35778 | 27.7088 | -23.9035 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1687 | Carrowbeg | 13868.8573 | 0.39488 | 0.26994 | 54.6203 | -15.2409 | 35122 | ''Castlebar' to 'Cloon'' (orig_from=1715, orig_to=1699)
1688 | Cushaling | 25094.1221 | 0.71448 | -0.3256 | 89.7853 | -28.9676 | 35122 | ''Cushaling' to 'Newbridge'' (orig_from=1689, orig_to=1514)
1689 | Cunghill | 29021.7938 | 0.82631 | 0.26831 | 100.8183 | -34.9215 | 35122 | ''Cunghill' to 'Sligo'' (orig_from=1690, orig_to=1471)
1690 | Cow Cross | 6214.3133 | 0.17694 | -0.36297 | 27.792 | -24.1788 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1691 | Carlow | -64208.9246 | -1.8282 | -0.43148 | 41.0959 | -112.2769 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1692 | Charleville | 19711.3769 | 0.56123 | -0.13573 | 56.2168 | -12.5409 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
1693 | College Park | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1694 | Carrick on Shannon | 14411.4014 | 0.41032 | 0.25412 | 22.0982 | -30.8716 | 35122 | 'Paddock to Woodland' (orig_from=1859, orig_to=1430)
1695 | Cherrywood | 15792.2576 | 0.44964 | -0.71581 | 50.2375 | -35.5662 | 35122 | ''Carrickmines' to 'Pottery Road'' (orig_from=1707, orig_to=1492)
1696 | Crane | -42636.5398 | -1.214 | -0.57723 | 52.4397 | -55.2364 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1697 | Screeb | 8199.7172 | 0.23346 | 0.20358 | 12.3259 | -19.6881 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1698 | Cloon | 15446.2597 | 0.43979 | 0.32462 | 10.5922 | -16.4 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1699 | Clutterland | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1700 | Darndale | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1701 | Cookstown | -10797.367 | -0.30742 | -0.71839 | 41.9714 | -35.0849 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1702 | Bracklone | 4763.8495 | 0.13564 | -0.38131 | 60.2838 | -18.5609 | 35122 | ''Coolnabacky' to 'Portlaoise'' (orig_from=1561, orig_to=1495)
1703 | Castle farm | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1704 | Cliff | 120328.9439 | 3.426 | 0.25882 | 166.6274 | -30.9352 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1705 | Carrickmines | -53092.1124 | -1.5116 | -0.72012 | 41.972 | -34.3199 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1706 | Carrickmines | 28032.3319 | 0.79814 | -0.7149 | 57.0165 | -35.7878 | 35122 | ''Carrickmines' to 'Pottery Road'' (orig_from=1707, orig_to=1492)
1707 | Cromcastle | -21506.6954 | -0.61234 | -0.40413 | 27.468 | -91.117 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1708 | Cahir | 49033.1187 | 1.3961 | -0.29412 | 80.2781 | -35.5896 | 35122 | ''Cahir' to 'Doon'' (orig_from=1709, orig_to=1667)
1709 | Cromcastle | -21506.6954 | -0.61234 | -0.40413 | 27.468 | -91.117 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1710 | Cath_Fall | 120329.1654 | 3.426 | 0.25882 | 166.6277 | -30.9352 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1711 | CentralPark | -121139.9444 | -3.4491 | -1.213 | 28.8176 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1712 | Carrigadrohi | 11464.1733 | 0.32641 | -0.24672 | 22.7712 | -50.2633 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1713 | Cloncreen | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1714 | Castlebar | 13868.9653 | 0.39488 | 0.26994 | 54.6207 | -15.2411 | 35122 | ''Castlebar' to 'Cloon'' (orig_from=1715, orig_to=1699)
1715 | Clahane | 20303.4742 | 0.57808 | -0.24724 | 95.5194 | -7.9953 | 35122 | ''Clahane' to 'Trien'' (orig_from=1716, orig_to=1442)
1716 | Cashla | 9266.9432 | 0.26385 | -0.23023 | 13.7928 | -11.538 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1717 | Cashla | 8200.0433 | 0.23347 | 0.20359 | 12.3264 | -19.6888 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1718 | Corderry | 20382.8655 | 0.58034 | 0.25667 | 48.5971 | -34.0498 | 35122 | ''Carrick on S' to 'Arigna_T'' (orig_from=1695, orig_to=1401)
1719 | Coolroe | 8829.8949 | 0.25141 | -0.29805 | 24.996 | -40.1489 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1720 | Clonkeen | 17980.7096 | 0.51195 | -0.054358 | 44.1189 | -7.9945 | 35122 | ''Clashavoon' to 'Macroom' 2' (orig_from=1723, orig_to=1535)
1721 | Clashavoon | 12274.9594 | 0.34949 | -0.16139 | 20.9229 | -7.9946 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1722 | Clashavoon | 17757.5565 | 0.5056 | -0.24222 | 60.6829 | -7.9943 | 35122 | ''Clashavoon' to 'Macroom' 2' (orig_from=1723, orig_to=1535)
1723 | Clonfad | 82660.7062 | 2.3535 | -0.24151 | 112.8717 | -46.8261 | 35122 | ''Clonfad' to 'Kinnegad'' (orig_from=1724, orig_to=1577)
1724 | Cabra | -32734.064 | -0.93201 | -0.55504 | 64.6384 | -66.4937 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1725 | Ardnagappary | 133596.6714 | 3.8038 | 0.2617 | 166.5767 | -30.9258 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1726 | Coolderrig | -121140.1442 | -3.4491 | -1.213 | 28.8177 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1727 | Boggeragh | 28204.4144 | 0.80304 | -0.24082 | 152.8975 | -7.9943 | 35122 | ''Boggeragh' to 'Clashavoon'' (orig_from=1728, orig_to=1171)
1728 | Banoge | -47308.6529 | -1.347 | -0.66644 | 99.9913 | -48.2683 | 35122 | ''Crane' to 'Tullabeg'' (orig_from=1697, orig_to=1438)
1729 | Ballyadam | 44599.9075 | 1.2699 | -0.32892 | 143.7478 | -26.9748 | 35122 | ''Ballyadam' to 'Whitegate'' (orig_from=1730, orig_to=1428)
1730 | Clonee | -21736.0945 | -0.61887 | -0.36379 | 48.7781 | -95.4861 | 35122 | ''Clonee' to 'Corduff'' (orig_from=1731, orig_to=1679)
1731 | Cloghboola | 15736.1767 | 0.44804 | -0.25246 | 85.1966 | -21.0602 | 35122 | ''Knockanure' to 'Trien' 2' (orig_from=1600, orig_to=1442)
1732 | Brinny | 10945.9071 | 0.31165 | -0.31104 | 25.5843 | -19.2757 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1733 | Deenes | -5959.6684 | -0.16968 | -0.34741 | 29.0621 | -28.5531 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1734 | Butlerstown | -3624.9915 | -0.10321 | -0.4188 | 46.8448 | -26.5038 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1735 | Belcamp | -21843.6276 | -0.62194 | -0.40228 | 29.2379 | -92.6242 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1736 | Belcamp | -21528.7978 | -0.61297 | -0.40413 | 27.584 | -91.117 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1737 | Barrymore | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1738 | Cloghran | -18716.3822 | -0.5329 | -0.28351 | 22.1057 | -37.2154 | 35122 | ''Corduff' to 'Finglas'' (orig_from=1679, orig_to=1640)
1739 | Bandon | 10945.9165 | 0.31165 | -0.31104 | 25.5843 | -19.2757 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1740 | Ballyragget | -34217.3659 | -0.97424 | -0.46755 | 40.2521 | -61.681 | 35122 | ''Kellis' to 'White Hill'' (orig_from=1580, orig_to=1825)
1741 | Blackrock | -433960.0442 | -12.3558 | -1.0958 | 45.7376 | -102.1923 | 35122 | ''Blackrock' to 'Ringsend'' (orig_from=1742, orig_to=1489)
1742 | AirtonRoad | -121140.6784 | -3.4491 | -1.213 | 28.8178 | -39.2252 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1743 | Bellacorick | 90688.6589 | 2.5821 | 0.34338 | 194.4242 | -12.7585 | 35122 | ''Bellacorick' to 'Moy'' (orig_from=1744, orig_to=1521)
1744 | BarnahelyB | 8112.8198 | 0.23099 | -0.35805 | 27.0847 | -30.9856 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1745 | Barnahely | 6935.294 | 0.19746 | -0.36231 | 27.6353 | -27.3663 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1746 | Barnageeragh | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1747 | Ballydine | 11113.371 | 0.31642 | -0.35404 | 111.1978 | -135.0054 | 35122 | 'Cullenagh to Mothel' (orig_from=1683, orig_to=1835)
1748 | Baroda | -26930.6373 | -0.76677 | -0.46283 | 41.5122 | -115.3856 | 35122 | ''Baroda' to 'Monread'' (orig_from=1749, orig_to=1518)
1749 | Binbane | 130755.8742 | 3.7229 | 0.26111 | 166.598 | -30.9297 | 35122 | ''Cath_Fall' to 'Srananagh'' (orig_from=1711, orig_to=1466)
1750 | Blundelstown | 4274.81 | 0.12171 | -0.24976 | 102.1894 | -47.3193 | 35122 | ''Blundelstown' to 'Corduff'' (orig_from=1751, orig_to=1680)
1751 | Blake | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1752 | Cordal | 11136.2802 | 0.31707 | -0.12993 | 14.6826 | -7.995 | 35122 | ''Knockraha' to 'Dromana'' (orig_from=1596, orig_to=3)
1753 | Ballybeg | -53986.255 | -1.5371 | -0.7674 | 37.466 | -30.8984 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1754 | Ballylickey | 10480.0342 | 0.29839 | -0.24648 | 22.4798 | -52.8402 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1755 | Baltrasna | -11419.0118 | -0.32512 | -0.34209 | 25.8787 | -25.78 | 35122 | ''Corduff' to 'Gallanstown'' (orig_from=1680, orig_to=1622)
1756 | Booltiagh | 10471.1966 | 0.29814 | -0.19491 | 46.9841 | -25.2102 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
1757 | Ballywater | -42636.4395 | -1.214 | -0.57723 | 52.4396 | -55.2363 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1758 | Athy | -53291.3444 | -1.5173 | -0.46397 | 29.2978 | -70.805 | 35122 | ''Dunstown' to 'Kellis'' (orig_from=1664, orig_to=1579)
1759 | Ballyvouskil | 11666.2256 | 0.33216 | -0.076908 | 17.2235 | -7.9948 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1760 | Ballyvouskil | 11465.1425 | 0.32644 | -0.077779 | 17.2231 | -99.8255 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1761 | Artane | -5926.8797 | -0.16875 | -0.55483 | 64.2658 | -66.4937 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1762 | Arva | 14922.5361 | 0.42488 | -0.23108 | 35.1531 | -41.2575 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1763 | Aughinish | 12964.0432 | 0.36911 | -0.14268 | 12.8247 | -12.9508 | 35122 | ''Ardnacrusha' to 'Ennis'' (orig_from=1780, orig_to=1652)
1764 | Ballinknocka | 12598.8141 | 0.35872 | -0.1903 | 12.7821 | -12.371 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1765 | Athlone | 30653.6476 | 0.87278 | 0.43501 | 44.4685 | -34.4288 | 35122 | ''Athlone' to Feamore' (orig_from=1766, orig_to=1854)
1766 | Athea | 9768.1187 | 0.27812 | -0.25983 | 14.4512 | -7.9956 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1767 | Arklow | -54593.8745 | -1.5544 | -0.75042 | 34.4045 | -37.9913 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1768 | Arklow | -52449.0561 | -1.4933 | -0.743 | 32.1362 | -40.1284 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1769 | Anner | 5682.15 | 0.16178 | -0.33977 | 111.1969 | -135.0043 | 35122 | 'Cullenagh to Mothel' (orig_from=1683, orig_to=1835)
1770 | Adamstown | -121140.1465 | -3.4491 | -1.213 | 28.8177 | -39.225 | 35122 | ''INCHICORE' to 'Poolbeg Sout'' (orig_from=756, orig_to=1496)
1771 | Ahane | 17046.918 | 0.48536 | -0.14108 | 18.1842 | -16.2251 | 35122 | ''Cahir' to 'Doon'' (orig_from=1709, orig_to=1667)
1772 | AghT2102 | 11160.3895 | 0.31776 | -0.34614 | 28.5638 | -14.9529 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1773 | Agannygal | 16068.4664 | 0.4575 | 0.25737 | 102.0723 | -23.1803 | 35122 | 'Shannonbridge to Ballydonagh' (orig_from=1476, orig_to=1858)
1774 | Agh_AT14 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1775 | Arigna | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1776 | Aghada_B | 10407.0112 | 0.29631 | -0.34613 | 28.5563 | -14.944 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1777 | Aghada | 10993.8026 | 0.31302 | -0.34614 | 28.5687 | -14.8676 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1778 | Aghada | 19381.6908 | 0.55184 | -0.34627 | 59.0466 | -19.1626 | 35122 | ''Cow Cross' to Rathcoursey' (orig_from=1691, orig_to=1857)
1779 | Ardnacrusha | 25949.4363 | 0.73884 | 0.1731 | 76.729 | -8.3018 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
1786 | RosspileHV | -16324.1068 | -0.46478 | -0.47188 | 38.2799 | -43.8017 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1788 | SligoBESS | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1790 | SrahnanaBallysumahanBESS | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1792 | FlagfordBESSHV | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1793 | RosspileBESS | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1794 | LyrenacarrigaWFHV | 5856.2244 | 0.16674 | -0.42573 | 51.7374 | -25.8756 | 35122 | ''Dungarvan' to 'Woodhouse'' (orig_from=1669, orig_to=1423)
1796 | RathnaskillogeBESSHV | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1798 | FlagfordBESSHV | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1799 | Derrinlough | 237479.4072 | 6.7616 | 0.13991 | 207.4933 | -17.2536 | 35122 | ''Derrinlough' to 'Dallow T'' (orig_from=1800, orig_to=907)
1800 | Coolshamroge | 220823.5301 | 6.2873 | 0.27733 | 208.2308 | -7.9956 | 35122 | ''Coolshamroge' to 'Ennis'' (orig_from=1801, orig_to=1652)
1801 | Shanonagh | 74569.6746 | 2.1232 | -0.18663 | 87.8755 | -22.236 | 35122 | 'Clonymeath to Craddanstown' (orig_from=1821, orig_to=1814)
1802 | Effernoge | -43581.2406 | -1.2409 | -0.5776 | 53.1749 | -55.7894 | 35122 | ''Arklow' to 'Lodgewood'' (orig_from=1768, orig_to=1550)
1803 | YellowRiver | 10857.2245 | 0.30913 | -0.30323 | 48.5096 | -77.2922 | 35122 | 'Garr to Derrygreenagh' (orig_from=1829, orig_to=1830)
1804 | Carrownagowan | 25949.2572 | 0.73883 | 0.1731 | 76.7284 | -8.3017 | 35122 | ''Ardnacrusha' to 'Limerick'' (orig_from=1780, orig_to=1563)
1805 | Coole WF | 78711.6494 | 2.2411 | -0.22572 | 94.8226 | -23.9775 | 35122 | 'Clonymeath to Craddanstown' (orig_from=1821, orig_to=1814)
1806 | Mulgeeth | 64743.3824 | 1.8434 | -0.26407 | 115.7853 | -58.6954 | 35122 | ''Maynooth B' to 'Rinawade'' (orig_from=1539, orig_to=1481)
1807 | Garrintaggart | -38630.5041 | -1.0999 | -0.46448 | 28.648 | -72.8849 | 35122 | ''Great Island' to 'Castlebanny'' (orig_from=1627, orig_to=1831)
1808 | Shrownoen | 104755.6928 | 2.9826 | -0.23417 | 153.734 | -7.9954 | 35122 | ''Kilpaddoge' to 'Shrownoen'' (orig_from=1572, orig_to=1809)
1809 | Philipstown | 24614.2263 | 0.70082 | -0.33196 | 86.5342 | -28.3281 | 35122 | ''Cushaling' to 'Newbridge'' (orig_from=1689, orig_to=1514)
1810 | Lislea | 16497.4195 | 0.46972 | -0.25129 | 40.2128 | -29.7313 | 35122 | ''LouthA' to 'Ratrussan'' (orig_from=1565, orig_to=1479)
1813 | Craddanstown | 72023.1515 | 2.0507 | -0.23392 | 143.4237 | -28.3394 | 35122 | ''Mullingar ' to 'Craddanstown'' (orig_from=1523, orig_to=1814)
1814 | Rathcobican | 4718.6421 | 0.13435 | -0.30521 | 20.8529 | -11.744 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1815 | Castlelost | 58700.9245 | 1.6713 | -0.53966 | 179.5707 | -17.7095 | 35122 | ''Maynooth A' to 'Castlelost'' (orig_from=1538, orig_to=1816)
1816 | Rathcobican | -10003.5116 | -0.28482 | -0.31059 | 20.8526 | -133.8116 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1817 | Derrygreenagh | -1183.2589 | -0.03369 | -0.30753 | 132.226 | -133.8115 | 35122 | ''Rathcobican' to 'Derrygreenagh'' (orig_from=1817, orig_to=1818)
1818 | Coolcarrigan | 27451.1785 | 0.78159 | -0.35156 | 106.6784 | -31.8189 | 35122 | ''Coolcarrigan' to 'Blake T'' (orig_from=1819, orig_to=1305)
1819 | Kilcormac | 392867.7875 | 11.1858 | -0.068571 | 214.5285 | -57.5824 | 35122 | ''Derrycarney' to 'Derrinlough'' (orig_from=1558, orig_to=1800)
1820 | Clonymeath | 4724.7594 | 0.13452 | -0.2469 | 85.1218 | -72.7282 | 35122 | ''Blundelstown' to 'Corduff'' (orig_from=1751, orig_to=1680)
1821 | Culmullin 110 | -23280.9786 | -0.66286 | -0.26543 | 50.218 | -134.1761 | 35122 | ''Blundelstown' to 'Corduff'' (orig_from=1751, orig_to=1680)
1822 | Culmullin 220 | 13062.9183 | 0.37193 | -0.47532 | 115.3297 | -14.5856 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1823 | Millfarm | 13882.8935 | 0.39528 | -0.32274 | 48.7374 | -13.9615 | 35122 | ''maynooth' to 'Culmullin'' (orig_from=1540, orig_to=1823)
1824 | White Hill | -29496.9731 | -0.83984 | -0.35976 | 76.0397 | -39.4598 | 35122 | ''Kellis' to 'White Hill'' (orig_from=1580, orig_to=1825)
1825 | Coom Green | 36541.1441 | 1.0404 | -0.308 | 87.3945 | -28.6036 | 35122 | ''Knockraha' to 'Barrym T'' (orig_from=1597, orig_to=1224)
1826 | Metro Airpor | -21506.7499 | -0.61234 | -0.40413 | 27.4683 | -91.1169 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1827 | Metro North | -21506.757 | -0.61234 | -0.40413 | 27.4683 | -91.117 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1828 | Garr | 18895.6519 | 0.538 | -0.30322 | 132.2243 | -56.2507 | 35122 | ''Rathcobican' to 'Derrygreenagh'' (orig_from=1817, orig_to=1818)
1829 | Derrygreenagh | -50231.1942 | -1.4302 | -0.3295 | 132.2245 | -164.9263 | 35122 | ''Rathcobican' to 'Derrygreenagh'' (orig_from=1817, orig_to=1818)
1830 | Castlebanny | -14989.1242 | -0.42677 | -0.38746 | 74.9499 | -28.6035 | 35122 | ''Great Island' to 'Castlebanny'' (orig_from=1627, orig_to=1831)
1832 | Mothel | 26107.0363 | 0.74332 | -0.35612 | 111.1989 | -53.2473 | 35122 | 'Cullenagh to Mothel' (orig_from=1683, orig_to=1835)
1833 | Test_PV | 8761.1582 | 0.24945 | 0.22042 | 12.1474 | -19.2485 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1834 | Test_PV_2 | 19711.1872 | 0.56122 | -0.13573 | 56.2163 | -12.5408 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
1835 | Dromana_110 | 9422.1183 | 0.26827 | -0.44444 | 49.7499 | -59.0515 | 35122 | ''Cullenagh' to 'Dromana'' (orig_from=1682, orig_to=3)
1836 | Flanagan BESS | 100709.7431 | 2.8674 | -0.26541 | 179.1471 | -7.9948 | 35122 | ''Cahir' to 'Kill Hill'' (orig_from=1709, orig_to=1651)
1837 | Curraghmore | 42631.8817 | 1.2138 | -0.29514 | 69.0205 | -45.8066 | 35122 | ''Cahir' to 'Doon'' (orig_from=1709, orig_to=1667)
1838 | Carrowdotia | 9299.949 | 0.26479 | -0.26105 | 14.9718 | -7.9961 | 35122 | ''Clonee' to 'Woodland'' (orig_from=1731, orig_to=1430)
1839 | Shanganagh | -53092.1076 | -1.5116 | -0.72012 | 41.972 | -34.3199 | 35122 | ''Inchicore' to 'Irishtown'' (orig_from=1605, orig_to=1601)
1840 | Balbriggan | -21843.6061 | -0.62194 | -0.40228 | 29.2378 | -92.6241 | 35122 | ''McDermott' to 'North Quays'' (orig_from=1544, orig_to=1513)
1841 | Coom_Green_Mallow | 22787.6373 | 0.64881 | -0.28614 | 93.8138 | -20.0118 | 35122 | ''Kilnap' to 'Marina'' (orig_from=739, orig_to=1526)
1842 | Coom Green 220kV | 12004.7863 | 0.3418 | -0.32398 | 26.7307 | -7.9945 | 35122 | ''Great Island' to Offshore GC' (orig_from=1626, orig_to=1853)
1843 | Modelligo | 557.0391 | 0.01586 | -0.41478 | 62.0976 | -58.0176 | 35122 | ''Dungarvan' to 'Rathnaskillo'' (orig_from=1669, orig_to=1478)
1844 | Seven Hills | 33427.7045 | 0.95176 | 0.43056 | 58.7909 | -58.5458 | 35122 | ''Athlone' to Feamore' (orig_from=1766, orig_to=1854)
1845 | Roscommon | 29643.797 | 0.84402 | 0.34479 | 45.2169 | -20.4447 | 35122 | ''Lanesboro' to 'Sliabh Bawn'' (orig_from=1566, orig_to=151)
1846 | Ballygar | 29643.7582 | 0.84402 | 0.34479 | 45.2169 | -20.4446 | 35122 | ''Lanesboro' to 'Sliabh Bawn'' (orig_from=1566, orig_to=151)
1847 | Offshore GC | -51532.5591 | -1.4672 | -0.49708 | 43.8644 | -61.205 | 35122 | 'Lodgewood to Offshore GC 2' (orig_from=1550, orig_to=1853)
1848 | Feamore | 33427.7482 | 0.95176 | 0.43056 | 58.791 | -58.5459 | 35122 | ''Athlone' to Feamore' (orig_from=1766, orig_to=1854)
1849 | Knockfinglas break in | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1850 | Knockfinglas plant | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1851 | Rathcoursey | 22311.8006 | 0.63527 | -0.34492 | 81.1205 | -21.8718 | 35122 | ''Cow Cross' to Rathcoursey' (orig_from=1691, orig_to=1857)
1852 | Ballydonagh | 18856.4916 | 0.53689 | 0.22603 | 102.0744 | -16.8196 | 35122 | 'Shannonbridge to Ballydonagh' (orig_from=1476, orig_to=1858)
1853 | Paddock | 46999.4993 | 1.3382 | -0.26422 | 106.2583 | -12.8184 | 35122 | 'Curraghtown to Paddock' (orig_from=5, orig_to=1859)
1854 | Ballyvalode | 159773.2045 | 4.5491 | -0.15797 | 161.5729 | -12.675 | 35122 | 'Killonan to Ballyvalode' (orig_from=707, orig_to=1860)
1855 | Coolcor | 55748.737 | 1.5873 | -0.30939 | 93.9712 | -36.5616 | 35122 | 'Timahoe to Coolcor' (orig_from=1448, orig_to=1861)
1856 | Huntstown2 | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1857 | Dyrick Hill | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1858 | Coumnag | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)
1859 | Loughryan | 0 | 0 | 0 | 0 | 0 | 35122 | ''Blackrock' to 'Pottery Road'' (orig_from=1742, orig_to=1492)